## PurchaseRequisitionLines 260418
SL.NO. | REQUISITION NO | ITEM DESCRIPTION | TYPE | SIZE | QTY | UOM | UNIT PRICE | TOTAL PRICE | REMARKS
1 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: RF, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ASME B16.21, MATERIAL STANDARD:BUTYL RUBBER, LOCATION: SWGP. | BUTYL RUBBER | 2 | 2 | NOS | 57.024 | 114.048
2 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: RF, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ASME B16.21, MATERIAL STANDARD:BUTYL RUBBER, LOCATION: RO BASED ZLD. | BUTYL RUBBER | 2 | 4 | NOS | 57.024 | 114.048
3 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: RF, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ASME B16.21, MATERIAL STANDARD:BUTYL RUBBER, LOCATION: NEW WWTP. | BUTYL RUBBER | 2 | 2 | NOS | 57.024 | 114.048
4 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: FULL FACE, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ANSI B16.21, TO SUIT ANSI B16.5 150#, MATERIAL STANDARD:EPDM, LOCATION: RO BASED ZLD. | EPDM | 2 | 42 | NOS | 110.4404 | 220.8809
5 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 4", END CONNECTION: FULL FACE, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ANSI B16.21, TO SUIT ANSI B16.5 150#, MATERIAL STANDARD:EPDM, LOCATION: RO BASED ZLD. | EPDM | 4 | 8 | NOS | 235.7626 | 943.0502
6 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 6", END CONNECTION: FULL FACE, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ANSI B16.21, TO SUIT ANSI B16.5 150#, MATERIAL STANDARD:EPDM, LOCATION: RO BASED ZLD. | EPDM | 6 | 8 | NOS | 342.2866 | 2053.7194
7 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 8", END CONNECTION: FULL FACE, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ANSI B16.21, TO SUIT ANSI B16.5 150#, MATERIAL STANDARD:EPDM, LOCATION: RO BASED ZLD. | EPDM | 8 | 16 | NOS | 507.5294 | 4060.2355
8 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 10", END CONNECTION: FULL FACE, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ANSI B16.21, TO SUIT ANSI B16.5 150#, MATERIAL STANDARD:EPDM, LOCATION: RO BASED ZLD. | EPDM | 10 | 6 | NOS | 701.8744 | 7018.7436
9 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 12", END CONNECTION: FULL FACE, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ANSI B16.21, TO SUIT ANSI B16.5 150#, MATERIAL STANDARD:EPDM, LOCATION: RO BASED ZLD. | EPDM | 12 | 4 | NOS | 982.0958 | 11785.1501
10 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: NEW WWTP. | SP WIND | 2 | 74 | NOS | 116 | 232
11 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: RO BASED ZLD. | SP WIND | 2 | 32 | NOS | 116 | 232
12 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - TP304 SS. LOCATION: RO BASED ZLD. | SP WIND | 2 | 4 | NOS | 188.875 | 377.75
13 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: RF, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD:SPIRAL WOUND DSS UNS S32205, FLEXIBLE GRAPHITE FILLED WITH I RING, LOCATION: RO BASED ZLD. | SP WIND | 2 | 16 | NOS | 208.5561 | 417.1121 | WE ARE PROCEEDING OUTER RING AS "CS"
14 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, | SP WIND | 2 | 46 | NOS | 0 | 0 | KINDLY PROVIDE CLEAR SPEC
15 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 3", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: NEW WWTP. | SP WIND | 3 | 146 | NOS | 199.125 | 597.375
16 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 3", END CONNECTION: RF, SCH/THK: 3.0 MM THK, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD:SPIRAL WOUND DSS UNS S32205, FLEXIBLE GRAPHITE FILLED WITH I RING, LOCATION: RO BASED ZLD. | SP WIND | 3 | 8 | NOS | 372.6923 | 1118.0769 | WE ARE PROCEEDING OUTER RING AS "CS"
17 | MBG-PR-85909 | "ITEM: GASKET, SIZE IN INCH: 3"", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: EXISTING WWTP." | SP WIND | 3 | 28 | NOS | 199.125 | 597.375
18 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 4", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: SWGP. | SP WIND | 4 | 10 | NOS | 267.25 | 1069
19 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 4", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: RO BASED ZLD. | SP WIND | 4 | 28 | NOS | 267.25 | 1069
20 | MBG-PR-85909 | "ITEM: GASKET, SIZE IN INCH: 4"", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: EXISTING WWTP." | SP WIND | 4 | 8 | NOS | 267.25 | 1069
21 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 4", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: NEW WWTP. | SP WIND | 4 | 56 | NOS | 267.25 | 1069
22 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 6", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: SWGP. | SP WIND | 6 | 16 | NOS | 369.225 | 2215.35
23 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 6", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: RO BASED ZLD. | SP WIND | 6 | 26 | NOS | 369.225 | 2215.35
24 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 6", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP316L SS WINDING - GRAPHITE FILLER, INNER RING - TP316L SS, OUTER RING - TP316L SS. LOCATION: RO BASED ZLD. | SP WIND | 6 | 8 | NOS | 563.2125 | 3379.275
25 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 6", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: RO BASED ZLD. | SP WIND | 6 | 2 | NOS | 369.225 | 2215.35
26 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 8", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: RO BASED ZLD. | SP WIND | 8 | 8 | NOS | 394.2 | 3153.6
27 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 10", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: SWGP. | SP WIND | 10 | 4 | NOS | 506.2 | 5062
28 | MBG-PR-85909 | "ITEM: GASKET, SIZE IN INCH: 10"", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: EXISTING WWTP." | SP WIND | 10 | 6 | NOS | 506.2 | 5062
29 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 14", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: SWGP. | SP WIND | 14 | 4 | NOS | 778.05 | 10892.7
30 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 14", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: RO BASED ZLD. | SP WIND | 14 | 4 | NOS | 778.05 | 10892.7
31 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 2", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: SWGP. | SP WIND | 2 | 2 | NOS | 116 | 232
32 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 3", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: SWGP. | SP WIND | 3 | 34 | NOS | 199.125 | 597.375
33 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 6", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: NEW WWTP. | SP WIND | 6 | 8 | NOS | 369.225 | 2215.35
34 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 8", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: NEW WWTP. | SP WIND | 8 | 20 | NOS | 394.2 | 3153.6
35 | MBG-PR-85909 | ITEM: GASKET, SIZE IN INCH: 10", END CONNECTION: SPRL-WIND RF, SCH/THK: 4.5 MM THK UNCOMPRESSED, 3.2 MM THK COMPRESSED, DIMENSIONAL STANDARD: ASME B16.20, MATERIAL STANDARD: TP304 SS WINDING - GRAPHITE FILLER, INNER RING - TP304 SS, OUTER RING - CS. LOCATION: NEW WWTP. | SP WIND | 10 | 8 | NOS | 506.2 | 5062
90620.2627